## HVAC Price List
TradeOS — HVAC Supply Price List ¦ Johnstone Supply ¦ Demo Data
Prices effective: Jan 2025 ¦ Demo only — not real supplier pricing ¦ Update with actual Johnstone pricing before pilot
SKU | Description | Category | Unit | Unit Cost | Markup % | Customer Price
── CONDENSERS & SPLIT SYSTEMS ──
HVAC-CAR-CA16-024 | Carrier CA16NA024 — 2-ton 16 SEER Condenser | Condensers | ea | 980 | 30% | 1274
HVAC-CAR-CA16-036 | Carrier CA16NA036 — 3-ton 16 SEER Condenser | Condensers | ea | 1240 | 30% | 1612
HVAC-CAR-CA16-048 | Carrier CA16NA048 — 4-ton 16 SEER Condenser | Condensers | ea | 1520 | 30% | 1976
HVAC-GDM-GSX14-024 | Goodman GSX14-024 — 2-ton 14 SEER Condenser | Condensers | ea | 740 | 30% | 962
HVAC-GDM-GSX14-036 | Goodman GSX14-036 — 3-ton 14 SEER Condenser | Condensers | ea | 920 | 30% | 1196
HVAC-LEN-XC16-036 | Lennox XC16-036 — 3-ton 16 SEER Condenser | Condensers | ea | 1380 | 30% | 1794
── AIR HANDLERS & COILS ──
HVAC-CAR-FV4C-024 | Carrier FV4CNF002 — 2-ton Air Handler | Air Handlers | ea | 620 | 30% | 806
HVAC-CAR-FV4C-036 | Carrier FV4CNF003 — 3-ton Air Handler | Air Handlers | ea | 740 | 30% | 962
HVAC-GDM-ARUF-036 | Goodman ARUF36C14 — 3-ton Air Handler | Air Handlers | ea | 560 | 30% | 728
── REFRIGERANT ──
HVAC-REF-R410A-25 | R-410A Refrigerant — 25 lb cylinder | Refrigerant | cyl | 148 | 30% | 192.4
HVAC-REF-R410A-LB | R-410A — per pound (field charge) | Refrigerant | lb | 6.2 | 30% | 8.06
HVAC-REF-R22-REC | R-22 Recovery Cylinder — 30 lb (empty) | Refrigerant | ea | 45 | 30% | 58.5
HVAC-REF-R454B-25 | R-454B Refrigerant — 25 lb cylinder (R-22 replacement) | Refrigerant | cyl | 185 | 30% | 240.5
── LINE SETS & FITTINGS ──
HVAC-LS-3878-25 | Line Set 3/8" x 7/8" x 25 ft — pre-charged | Line Sets | set | 88 | 30% | 114.4
HVAC-LS-3878-50 | Line Set 3/8" x 7/8" x 50 ft — pre-charged | Line Sets | set | 148 | 30% | 192.4
HVAC-LS-INS-78 | Line Set Insulation 7/8" (per ft) | Line Sets | ft | 0.85 | 30% | 1.105
HVAC-LS-INS-38 | Line Set Insulation 3/8" (per ft) | Line Sets | ft | 0.55 | 30% | 0.715
HVAC-LS-FLUSH | Line Set Flush Kit — nitrogen + fittings | Line Sets | kit | 38 | 30% | 49.4
HVAC-FIT-FLARE | Flare Fitting Set — 1/4" to 7/8" assorted | Fittings | set | 22 | 30% | 28.6
HVAC-FIT-N2 | Nitrogen — purge/pressure test cylinder | Fittings | ea | 28 | 30% | 36.4
── ELECTRICAL & DISCONNECT ──
HVAC-EL-DISC-60F | Disconnect Box — 60A fusible | Electrical | ea | 34 | 30% | 44.2
HVAC-EL-DISC-60NF | Disconnect Box — 60A non-fusible | Electrical | ea | 24 | 30% | 31.2
HVAC-EL-FUSE-40 | Fuses — 40A time-delay (pair) | Electrical | pr | 8.5 | 30% | 11.05
HVAC-EL-FUSE-30 | Fuses — 30A time-delay (pair) | Electrical | pr | 6.5 | 30% | 8.45
HVAC-EL-WIRE-10 | 10/2 NM-B Wire w/ Ground (per ft) | Electrical | ft | 0.58 | 30% | 0.754
HVAC-EL-WIRE-10R | 10/2 NM-B Wire — 50 ft roll | Electrical | roll | 32 | 30% | 41.6
── CAPACITORS & COMPONENTS ──
HVAC-CAP-45-5 | Run Capacitor — 45/5 MFD 370V Dual (most common) | Capacitors | ea | 14.5 | 30% | 18.85
HVAC-CAP-35-5 | Run Capacitor — 35/5 MFD 370V Dual | Capacitors | ea | 12 | 30% | 15.6
HVAC-CAP-55-5 | Run Capacitor — 55/5 MFD 370V Dual | Capacitors | ea | 16 | 30% | 20.8
HVAC-CAP-7-5 | Run Capacitor — 7.5 MFD 370V Single (fan motor) | Capacitors | ea | 8.5 | 30% | 11.05
HVAC-CAP-5 | Run Capacitor — 5 MFD 370V Single | Capacitors | ea | 7.5 | 30% | 9.75
HVAC-CONT-2P | Contactor — 2-pole 30A (standard residential) | Components | ea | 18 | 30% | 23.4
HVAC-CONT-3P | Contactor — 3-pole 40A | Components | ea | 26 | 30% | 33.8
HVAC-TXVAL-3T | TXV Expansion Valve — 3-ton R-410A | Components | ea | 68 | 30% | 88.4
HVAC-FDRIER | Filter Drier — 3/8" sweat (standard) | Components | ea | 18.5 | 30% | 24.05
HVAC-HPSWITCH | High Pressure Switch — replacement | Components | ea | 22 | 30% | 28.6
HVAC-LPSWITCH | Low Pressure Switch — replacement | Components | ea | 19.5 | 30% | 25.35
── THERMOSTATS & CONTROLS ──
HVAC-TSTAT-BASIC | Thermostat — Non-programmable (basic) | Controls | ea | 28 | 30% | 36.4
HVAC-TSTAT-PROG | Thermostat — 7-day programmable | Controls | ea | 48 | 30% | 62.4
HVAC-TSTAT-SMART | Thermostat — Smart/WiFi (Honeywell T6) | Controls | ea | 95 | 30% | 123.5
HVAC-CTRL-WIRE | Thermostat Wire — 18/5 (per ft) | Controls | ft | 0.32 | 30% | 0.416
HVAC-CTRL-WIRE50 | Thermostat Wire — 18/5 x 50 ft roll | Controls | roll | 18 | 30% | 23.4
── PADS & MOUNTING ──
HVAC-PAD-STD | Condenser Pad — composite 24x24 | Mounting | ea | 22 | 30% | 28.6
HVAC-PAD-SHIM | Pad Shim Set — composite (4-pack) | Mounting | set | 8.5 | 30% | 11.05
HVAC-VIBPAD | Anti-vibration Pad — 24x24 | Mounting | ea | 18 | 30% | 23.4
HVAC-BOLT-38 | Mounting Bolts — 3/8" lag (4-pack) | Mounting | set | 4.5 | 30% | 5.85
── CONSUMABLES — AUTO-ADD BY JOB TYPE ──
HVAC-CON-FOIL | Foil Tape — 2" x 50 ft | Consumables | ea | 8.5 | 30% | 11.05
HVAC-CON-MASTIC | Duct Mastic — 1 qt | Consumables | ea | 12 | 30% | 15.6
HVAC-CON-ZIP | UV-rated Zip Ties — 100-pk | Consumables | pk | 6.5 | 30% | 8.45
HVAC-CON-LEAK | Refrigerant Leak Detector Fluid | Consumables | ea | 12 | 30% | 15.6
HVAC-CON-NFLUX | Nitrogen Regulator — rental/day | Consumables | day | 15 | 30% | 19.5
HVAC-CON-GAUGES | Manifold Gauge Set — rental/day | Consumables | day | 18 | 30% | 23.4
HVAC-CON-VAC | Vacuum Pump — rental/day | Consumables | day | 22 | 30% | 28.6

## Job Templates
TradeOS — HVAC Job Templates ¦ Reference for AI Supply List Generation
These templates seed the AI supply list. AI adds job-specific items on top. Tech confirms before order is placed.
Job Type | SKU | Default Qty | Unit | Est. Cost | Notes
── CONDENSER REPLACEMENT — 3-TON R-410A ──
Condenser Replace | HVAC-CAR-CA16-036 | 1 | ea | 1240 | Primary unit — adjust SKU to match job
Condenser Replace | HVAC-REF-R410A-25 | 1 | cyl | 148 | Full cylinder standard on replacement
Condenser Replace | HVAC-REF-R22-REC | 1 | ea | 45 | R-22 recovery — always on R-22 units
Condenser Replace | HVAC-LS-FLUSH | 1 | kit | 38 | Line set flush — R-22 to R-410A transition
Condenser Replace | HVAC-EL-DISC-60F | 1 | ea | 34 | Inspect existing — replace if corroded
Condenser Replace | HVAC-EL-FUSE-40 | 1 | pr | 8.5 | Match new unit MCA
Condenser Replace | HVAC-FDRIER | 1 | ea | 18.5 | Always replace on refrigerant system work
Condenser Replace | HVAC-PAD-SHIM | 1 | set | 8.5 | Inspect and level existing pad
Condenser Replace | HVAC-VIBPAD | 1 | ea | 18 | Install on new unit
Condenser Replace | HVAC-CON-FOIL | 1 | ea | 8.5 | Line set weatherproofing
Condenser Replace | HVAC-CON-ZIP | 1 | pk | 6.5 | Line set management
Condenser Replace | HVAC-CON-LEAK | 1 | ea | 12 | Post-charge leak check — always
Condenser Replace | HVAC-FIT-N2 | 1 | ea | 28 | Pressure test before charge
── CAPACITOR REPLACEMENT ──
Capacitor Replace | HVAC-CAP-45-5 | 1 | ea | 14.5 | Confirm MFD reading before ordering
Capacitor Replace | HVAC-CON-LEAK | 1 | ea | 12 | Check refrigerant while in system
── THERMOSTAT REPLACEMENT ──
Thermostat Replace | HVAC-TSTAT-SMART | 1 | ea | 95 | Default to smart — upsell from basic
Thermostat Replace | HVAC-CTRL-WIRE50 | 1 | roll | 18 | Run new wire if existing is degraded
── SERVICE CALL — NO COOL (DIAGNOSTIC) ──
No-Cool Service | HVAC-CAP-45-5 | 1 | ea | 14.5 | Most common no-cool cause — carry always
No-Cool Service | HVAC-CONT-2P | 1 | ea | 18 | Second most common — carry always
No-Cool Service | HVAC-CON-LEAK | 1 | ea | 12 | Check refrigerant charge
No-Cool Service | HVAC-REF-R410A-LB | 2 | lb | 12.4 | Top-off if low — note leak source

## Calloway Demo Order
TradeOS — Purchase Order ¦ Calloway Residence ¦ PO #TOS-2024-0847
Customer: | Calloway Residence — 2847 Ridgewood Ct
Job: | Goodman CK36-1A condenser replacement — R-22 to R-410A upgrade
Supplier: | Johnstone Supply — 4821 Industrial Blvd
PO Date: | Tuesday June 17, 2024 — 7:51 PM
Pickup: | Thursday June 19, 2024 — 7:30 AM
Requested by: | Jamie (Owner) — TradeOS PO auto-generated
SKU | Description | Qty | Unit | Unit Cost | Total | Status
HVAC-CAR-CA16-036 | Carrier CA16NA036 — 3-ton 16 SEER Condenser | 1 | ea | 1240 | 1240 | ✅ In stock
HVAC-REF-R410A-25 | R-410A Refrigerant — 25 lb cylinder | 1 | cyl | 148 | 148 | ✅ In stock
HVAC-REF-R22-REC | R-22 Recovery Cylinder — 30 lb | 1 | ea | 45 | 45 | ✅ In stock
HVAC-LS-FLUSH | Line Set Flush Kit — nitrogen + fittings | 1 | kit | 38 | 38 | ✅ In stock
HVAC-EL-DISC-60F | Disconnect Box — 60A fusible | 1 | ea | 34 | 34 | ⚠️ Substituted — see note
HVAC-EL-FUSE-40 | Fuses — 40A time-delay (pair) | 1 | pr | 8.5 | 8.5 | ✅ In stock
HVAC-LS-INS-78 | Line Set Insulation 7/8" (per ft) | 10 | ft | 0.85 | 8.5 | ✅ In stock
HVAC-VIBPAD | Anti-vibration Pad — 24x24 | 1 | ea | 18 | 18 | ✅ In stock
HVAC-FDRIER | Filter Drier — 3/8" sweat | 1 | ea | 18.5 | 18.5 | ✅ In stock
HVAC-CON-LEAK | Refrigerant Leak Detector Fluid | 1 | ea | 12 | 12 | ✅ In stock
HVAC-CON-FOIL | Foil Tape — 2" x 50 ft | 1 | ea | 8.5 | 8.5 | ✅ In stock
HVAC-CON-ZIP | UV-rated Zip Ties — 100-pk | 1 | pk | 6.5 | 6.5 | ✅ In stock
TOTAL MATERIAL COST — Jamie's cost (not shown to customer) |  |  |  |  | 1585.5 | Order confirmed 7:54 PM
⚠️ Substitution note: Eaton DPU222RP (60A disconnect) out of stock. Square D QO230L200PG substituted — same specs, same price. Approved by Jamie 7:54 PM.